MINUTES OF A REGULAR MEETING OF THE EDGEWATER MAYOR AND COUNCIL HELD IN THE NANCY MERSE COUNCIL CHAMBERS, LOCATED AT 55 RIVER ROAD, EDGEWATER, COUNTY OF BERGEN, STATE OF NEW JERSEY ON OCTOBER 16, 2023.

PLEDGE OF ALLEGIANCE

Mayor McPartland led the Pledge of Allegiance.

ROLL CALL

PRESIDING:  Mayor McPartland

PRESENT ON ROLL CALL: Councilman Gutierrez, Councilwoman Lawlor, Councilman Monte, Councilman Vidal, Councilman Martin and Councilman Bartolomeo

ALSO PRESENT: Nicolette D’Anna, Deputy Borough Clerk, Gregory S. Franz, Administrator and Robert Travers, Borough Attorney

ABSENT: Annamarie O’Connor, Borough Clerk

OPEN PUBLIC MEETINGS ACT STATEMENT

Mayor McPartland read the following:

In compliance with New Jersey’s Open Public Meetings act, Chapter 231 of P.L. 1975, I hereby declare that adequate notice of this Meeting has been provided specifying that this meeting would be held on this date October 16, 2023 in the Municipal Building, 55 River Road, Edgewater, New Jersey at 7:00 p.m. This notice was published in the Record and Jersey Journal, posted on the bulletin board in the lobby of                                                                                                                                                                                                                                                                                                                                      Borough Hall and posted on the Borough’s website.

Mayor McPartland introduced and recognized Nikki D’Anna, the Deputy Borough Clerk, for doing a good job while filling in for Annamarie O’Connor who has been on leave.

OPEN TO PUBLIC

Mayor McPartland opened the meeting to the public and the following were heard:

- Betty, 1375 River Road:

Complimented the Mayor & Council for getting the traffic under control. She also wanted to give her appreciation for the senior luncheons.

No one else wished to be heard; therefore, the Mayor closed the meeting to the public.

APPROVAL OF MINUTES

MOTION

October 16, 2023

Introduced:  Councilman Monte

Second:  Councilman Bartolomeo

A motion to approve the minutes of the August 21, 2023 and September 18, 2023 Mayor & Council Meetings.

On roll call the vote was as follows:

Councilman Gutierrez		Yes

Councilwoman Lawlor		Yes

Councilman Monte			Yes

Councilman Vidal			Yes

Councilman Martin 	Yes

Councilman Bartolomeo		Yes

The Meeting Minutes have been approved.

ORDINANCES

FOR ADOPTION:

ORDINANCE NO. 2023-012

AN ORDINANCE REPEALING IN ITS ENTIRETY ORDINANCE NO. 2021-001 OF THE CODE OF THE BOROUGH OF EDGEWATER AND REPLACING CHAPTER 374 OF THE CODE OF THE BOROUGH OF EDGEWATER ENTITLED “STORMWATER MANAGEMENT”

Notice is hereby given that the following proposed Ordinance was introduced at a meeting of the Mayor and Council of the Borough of Edgewater, State of New Jersey held on the 18th day of September, 2023 and given its first reading, and the same was then ordered to be published according to law, and that said Ordinance will be further considered for final reading and adoption at a meeting of the said Mayor and Council to be held in the Nancy Merse Council Chambers, 55 River Road, Borough of Edgewater, New Jersey  on the  16th day of October, 2023 at 7:00 pm or as soon thereafter that the matter can be reached, at which time and place all persons interested will have an opportunity to be heard concerning said Ordinance.

The said Ordinance is:

ORDINANCE NO. 2023-012

AN ORDINANCE REPEALING IN ITS ENTIRETY ORDINANCE NO. 2021-001 OF THE CODE OF THE BOROUGH OF EDGEWATER AND REPLACING CHAPTER 374 OF THE CODE OF THE BOROUGH OF EDGEWATER ENTITLED “STORMWATER MANAGEMENT”

WHEREAS, there exists a need to replace, update and amend storm water management measures set forth in the Code of the Borough of Edgewater, and

WHEREAS, Ordinance No. 2021-001 amending and replacing Chapter 374 is hereby repealed in its entirety;

NOW THEREFORE BE IT ORDAINED by the Mayor and Council of the Borough of Edgewater, Bergen County, as follows:

Section I.  Scope and Purpose:

- Policy Statement

Practices (GI BMPs) and nonstructural stormwater management strategies.  GI BMPs and low impact development (LID) should be utilized to meet the goal of maintaining natural hydrology to reduce stormwater runoff volume, reduce erosion, encourage infiltration and groundwater recharge, and reduce pollution.  GI BMPs and LID should be developed based upon physical site conditions and the origin, nature and the anticipated quantity, or amount, of potential pollutants.  Multiple stormwater management BMPs may be necessary to achieve the established performance standards for water quality, quantity, and groundwater recharge.

B. Purpose

The purpose of this ordinance is to establish minimum stormwater management requirements and controls for “major development,” as defined below in Section II.

C. Applicability

1.  This ordinance shall be applicable to the following major developments:

a.  Non-residential major developments; and

b.  Aspects of residential major developments that are not pre-

emoted by the Residential Site Improvement Standards at      N.J.A.C. 5:21.

2.  This ordinance shall also be applicable to all major developments undertaken by the Borough of Edgewater.

An application required by ordinance pursuant to above that has been submitted prior to October 16, 2023, shall be subject to the stormwater management requirements in effect on {1 day prior to the adoption date of this ordinance}.

An application required by ordinance for approval pursuant to (b)1 above that has been submitted on or after March 2, 2021, but prior to October 16, 2023, shall be subject to the stormwater management requirements in effect on {1 day prior to the adoption date of this ordinance}.

Notwithstanding any rule to the contrary, a major development for any public roadway or railroad project conducted by a public transportation entity that has determined a preferred alternative or reached an equivalent milestone before July 17, 2023, shall be subject to the stormwater management requirements in effect prior to July 17, 2023.

D.  Compatibility with Other Permit and Ordinance Requirements

Development approvals issued pursuant to this ordinance are to be considered an integral part of development approvals and do not relieve the applicant of the responsibility to secure required permits or approvals for activities regulated by any other applicable code, rule, act, or ordinance.  In their interpretation and application, the provisions of this ordinance shall be held to be the minimum requirements for the promotion of the public health, safety, and general welfare.

This ordinance is not intended to interfere with, abrogate, or annul any other ordinances, rule or regulation, statute, or other provision of law except that, where any provision of this ordinance imposes restrictions different from those imposed by any other ordinance, rule or regulation, or other provision of law, the more restrictive provisions or higher standards shall control.

Section II.  Definitions:

For the purpose of this ordinance, the following terms, phrases, words and their derivations shall have the meanings stated herein unless their use in the text of this Chapter clearly demonstrates a different meaning.  When not inconsistent with the context, words used in the present tense include the future, words used in the plural number include the singular number, and words used in the singular number include the plural number.  The word "shall" is always mandatory and not merely directory.  The definitions below are the same as or based on the corresponding definitions in the Stormwater Management Rules at N.J.A.C. 7:8-1.2.

“CAFRA Centers, Cores or Nodes” means those areas with boundaries incorporated by reference or revised by the Department in accordance with N.J.A.C. 7:7-13.16.

“CAFRA Planning Map” means the map used by the Department to identify the location of Coastal Planning Areas, CAFRA centers, CAFRA cores, and CAFRA nodes.  The CAFRA Planning Map is available on the Department's Geographic Information System (GIS).

“Community basin” means an infiltration system, sand filter designed to infiltrate, standard constructed wetland, or wet pond, established in accordance with N.J.A.C. 7:8-4.2(c)14, that is designed and constructed in accordance with the New Jersey Stormwater Best Management Practices Manual, or an alternate design, approved in accordance with N.J.A.C. 7:8-5.2(g), for an infiltration system, sand filter designed to infiltrate, standard constructed wetland, or wet pond and that complies with the requirements of this chapter.

“Compaction” means the increase in soil bulk density.

“Contributory drainage area” means the area from which stormwater runoff drains to a stormwater management measure, not including the area of the stormwater management measure itself.

“Core” means a pedestrian-oriented area of commercial and civic uses serving the surrounding municipality, generally including housing and access to public transportation.

“County review agency” means an agency designated by the County Commissioners to review municipal stormwater management plans and implementing ordinance(s).  The county review agency may either be:

1. A county planning agency or

2 A county water resource association created under         N.J.S.A. 58:16A-55.5, if the ordinance or resolution delegates authority to approve, conditionally approve, or disapprove municipal stormwater management plans and implementing ordinances.

“Department” means the Department of Environmental Protection.

“Designated Center” means a State Development and Redevelopment Plan Center as designated by the State Planning Commission such as urban, regional, town, village, or hamlet.

“Design engineer” means a person professionally qualified and duly licensed in New Jersey to perform engineering services that may include, but not necessarily be limited to, development of project requirements, creation and development of project design and preparation of drawings and specifications.

“Development” means the division of a parcel of land into two or more parcels, the construction, reconstruction, conversion, structural alteration, relocation or enlarge-enlargement of any building or structure, any mining excavation or landfill, and any use or change in the use of any building or other structure, or land or extension of use of land, for which permission is required under the Municipal Land Use Law, N.J.S.A. 40:55D-1 et seq.

In the case of development of agricultural land, development means:  any activity that requires a State permit, any activity reviewed by the County Agricultural Board (CAB) and the State Agricultural Development Committee (SADC), and municipal review of any activity not exempted by the Right to Farm Act, N.J.S.A 4:1C-1 et seq.

“Disturbance” means the placement or reconstruction of impervious surface or motor vehicle surface, or exposure and/or movement of soil or bedrock or clearing, cutting, or removing of vegetation.  Milling and repaving is not considered disturbance for the purposes of this definition.

“Drainage area” means a geographic area within which stormwater, sediments, or dissolved materials drain to a particular receiving waterbody or to a particular point along a receiving waterbody.

“Environmentally constrained area” means the following areas where the physical alteration of the land is in some way restricted, either through regulation, easement, deed restriction or ownership such as: wetlands, floodplains, threatened and endangered species sites or designated habitats, and parks and preserves.  Habitats of endangered or threatened species are identified using the Department's Landscape Project as approved by the Department's Endangered and Nongame Species Program.

“Environmentally critical area” means an area or feature which is of significant environmental value, including but not limited to:  stream corridors, natural heritage priority sites, habitats of endangered or threatened species, large areas of contiguous open space or upland forest, steep slopes, and well head protection and groundwater recharge areas.  Habitats of endangered or threatened species are identified using the Department’s Landscape Project as approved by the Department’s Endangered and Nongame Species Program.

“Empowerment Neighborhoods” means neighborhoods designated by the Urban Coordinating Council “in consultation and conjunction with” the New Jersey Redevelopment Authority pursuant to N.J.S.A 55:19-69.

“Erosion” means the detachment and movement of soil or rock fragments by water, wind, ice, or gravity.

“Green infrastructure” means a stormwater management measure that manages stormwater close to its source by:

1. Treating stormwater runoff through infiltration     into subsoil;

2. Treating stormwater runoff through filtration by vegetation or soil; or

3. Storing stormwater runoff for reuse.

"HUC 14" or "hydrologic unit code 14" means an area within which water drains to a particular receiving surface water body, also known as a subwatershed, which is identified by a 14-digit hydrologic unit boundary designation, delineated within New Jersey by the United States Geological Survey.

“Impervious surface” means a surface that has been covered with a layer of material so that it is highly resistant to infiltration by water.

“Infiltration” is the process by which water seeps into the soil from precipitation.

“Lead planning agency” means one or more public entities having stormwater management planning authority designated by the regional stormwater management planning committee pursuant to N.J.A.C. 7:8-3.2, that serves as the primary representative of the committee.

“Major development” means an individual “development,” as well as multiple developments that individually or collectively result in:

1. The disturbance of one or more acres of land since   February 2, 2004;

2. The creation of one-quarter acre or more of “regulated impervious surface” since February 2, 2004;

3. The creation of one-quarter acre or more of “regulated motor vehicle surface” since March 2, 2021; or

4. A combination of 2 and 3 above that totals an area of one-quarter acre or more.  The same surface shall not be counted twice when determining if the combination area equals one-quarter acre or more.

Major development includes all developments that are part of a common plan of development or sale (for example, phased residential development) that collectively or individually meet any one or more of paragraphs 1, 2, 3, or 4 above.  Projects undertaken by any government agency that otherwise meet the definition of “major development” but which do not require approval under the Municipal Land Use Law, N.J.S.A. 40:55D-1 et seq., are also considered “major development.”

NOTE:  The definition of major development above aligns with the definition at N.J.A.C. 7:8-1.2 and is recommended for consistency.  Alternatively, a municipality may adopt the following definition, which is the minimum standard required.  Municipalities that have already adopted the definition at N.J.A.C. 7:8-1.2 or another definition that goes beyond the minimum requirement should not reduce the stringency of their definition by adopting the minimum standard.

“Major development” means an individual “development,” as well as multiple developments that individually or collectively result in the disturbance of one or more acres of land since February 2, 2004.

Major development includes all developments that are part of a common plan of development or sale (for example, phased residential development) that collectively or individually result in the disturbance of one or more acres of land since February 2, 2004.  Projects undertaken by any government agency that otherwise meet the definition of “major development” but which do not require approval under the Municipal Land Use Law, N.J.S.A. 40:55D-1 et seq., are also considered “major development.”

Additionally, individual municipalities may define major development with a smaller area of disturbance, a smaller area of regulated impervious or motor vehicle surface, or both.

“Motor vehicle” means land vehicles propelled other than by muscular power, such as automobiles, motorcycles, autocycles, and low speed vehicles.  For the purposes of this definition, motor vehicle does not include farm equipment, snowmobiles, all-terrain vehicles, motorized wheelchairs, go-carts, gas buggies, golf carts, ski-slope grooming machines, or vehicles that run only on rails or tracks.

“Motor vehicle surface” means any pervious or impervious surface that is intended to be used by “motor vehicles” and/or aircraft, and is directly exposed to precipitation including, but not limited to, driveways, parking areas, parking garages, roads, race-tracks, and runways.

“Municipality” means any city, borough, town, township, or village.

“New Jersey Stormwater Best Management Practices (BMP) Manual” or “BMP Manual” means the manual maintained by the Department providing, in part, design specifications, removal rates, calculation methods, and soil testing procedures approved by the Department as being capable of contributing to the achievement of the stormwater management standards specified in this chapter.  The BMP Manual is periodically amended by the Department as necessary to provide design specifications on additional best management practices and new information on already included practices reflecting the best available current information regarding the particular practice and the Department’s determination as to the ability of that best management practice to contribute to compliance with the standards contained in this chapter.  Alternative stormwater management measures, removal rates, or calculation methods may be utilized, subject to any limitations specified in this chapter, provided the design engineer demonstrates to the municipality, in accordance with Section IV.F. of this ordinance and N.J.A.C. 7:8-5.2(g), that the proposed measure and its design will contribute to achievement of the design and performance standards established by this chapter.

“Node” means an area designated by the State Planning Commission concentrating facilities and activities which are not organized in a compact form.

“Nutrient” means a chemical element or compound, such as nitrogen or phosphorus, which is essential to and promotes the development of organisms.

“Person” means any individual, corporation, company, partnership, firm, association, political subdivision of this State and any state, interstate or Federal agency.

“Pollutant” means any dredged spoil, solid waste, incinerator residue, filter backwash, sewage, garbage, refuse, oil, grease, sewage sludge, munitions, chemical wastes, biological materials, medical wastes, radioactive substance (except those regulated under the Atomic Energy Act of 1954, as amended (42 U.S.C. §§ 2011 et seq.)), thermal waste, wrecked or discarded equipment, rock, sand, cellar dirt, industrial, municipal, agricultural, and construction waste or runoff, or other residue discharged directly or indirectly to the land, ground waters or surface waters of the State, or to a domestic treatment works.  “Pollutant” includes both hazardous and nonhazardous pollutants.

"Public roadway or railroad" means a pathway for use by motor vehicles or trains that is intended for public use and is constructed by, or on behalf of, a public transportation entity.  A public roadway or railroad does not include a roadway or railroad constructed as part of a private development, regardless of whether the roadway or railroad is ultimately to be dedicated to and/or maintained by a governmental entity.

“Public transportation entity” means a Federal, State, county, or municipal government, an independent State authority, or a statutorily authorized public-private partnership program pursuant to P.L. 2018, c. 90 (N.J.S.A. 40A:11-52 et seq.), that performs a public roadway or railroad project that includes new construction, expansion, reconstruction, or improvement of a public roadway or railroad.

“Recharge” means the amount of water from precipitation that infiltrates into the ground and is not evapotranspired.

“Regulated impervious surface” means any of the following, alone or in combination:

1. A net increase of impervious surface;

2. The total area of impervious surface collected by a new stormwater conveyance system (for the purpose of this definition, a “new stormwater conveyance system” is a stormwater conveyance system that is constructed where one did not exist immediately prior to its construction or an existing system for which a new discharge location is created);

3. The total area of impervious surface proposed to be

newly collected by an existing stormwater conveyance system; and/or

4. The total area of impervious surface collected by

an existing stormwater conveyance system where the capacity of that conveyance system is increased.

“Regulated motor vehicle surface” means any of the following, alone or in combination:

1.  The total area of motor vehicle surface that is currently receiving water;

2.  A net increase in motor vehicle surface; and/or

quality treatment either by vegetation or soil, by an existing stormwater management measure, or by treatment at a wastewater treatment plant, where the water quality treatment will be modified or removed.

“Sediment” means solid material, mineral or organic, that is in suspension, is being transported, or has been moved from its site of origin by air, water or gravity as a product of erosion.

“Site” means the lot or lots upon which a major development is to occur or has occurred.

“Soil” means all unconsolidated mineral and organic material of any origin.

“State Development and Redevelopment Plan Metropolitan Planning Area (PA1)” means an area delineated on the State Plan Policy Map and adopted by the State Planning Commission that is intended to be the focus for much of the State’s future redevelopment and revitalization efforts.

“State Plan Policy Map” is defined as the geographic application of the State Development and Redevelopment Plan’s goals and statewide policies, and the official map of these goals and policies.

“Stormwater” means water resulting from precipitation (including rain and snow) that runs off the land’s surface, is transmitted to the subsurface, or is captured by separate storm sewers or other sewage or drainage facilities, or conveyed by snow removal equipment.

“Stormwater management BMP” means an excavation or embankment and related areas designed to retain stormwater runoff.  A stormwater management BMP may either be normally dry (that is, a detention basin or infiltration system), retain water in a permanent pool (a retention basin), or be planted mainly with wetland vegetation (most constructed stormwater wetlands).

“Stormwater management measure” means any practice, technology, process, program, or other method intended to control or reduce stormwater runoff and associated pollutants, or to induce or control the infiltration or groundwater recharge of stormwater or to eliminate illicit or illegal non-stormwater discharges into stormwater conveyances.

“Stormwater runoff” means water flow on the surface of the ground or in storm sewers, resulting from precipitation.

“Stormwater management planning agency” means a public body authorized by legislation to prepare stormwater management plans.

“Stormwater management planning area" means the geographic area for which a stormwater management planning agency is authorized to prepare stormwater management plans, or a specific portion of that area identified in a stormwater management plan prepared by that agency.

“Tidal Flood Hazard Area” means a flood hazard area in which the flood elevation resulting from the two-, 10-or 100-year storm, as applicable, is governed by tidal flooding from the Atlantic Ocean.  Flooding in a tidal flood hazard area may be contributed to, or influenced by, stormwater runoff from inland areas, but the depth of flooding generated by the tidal rise and fall of the Atlantic Ocean is greater than flooding from any fluvial sources.  In some situations, depending upon the extent of the storm surge from a particular storm event, a flood hazard area may be tidal in the 100-year storm, but fluvial in more frequent storm events.

“Urban Coordinating Council Empowerment Neighborhood” means a neighborhood given priority access to State resources through the New Jersey Redevelopment Authority.

“Urban Enterprise Zones” means a zone designated by the New Jersey Enterprise Zone Authority pursuant to the New Jersey Urban Enterprise Zones Act, N.J.S.A. 52:27H-60 et. seq.

“Urban Redevelopment Area” is defined as previously developed portions of areas:

- Delineated on the State Plan Policy Map (SPPM) as the Metropolitan Planning Area (PA1), Designated Centers, Cores or Nodes;

- Designated as CAFRA Centers, Cores or Nodes;

- Designated as Urban Enterprise Zones; and

- Designated as Urban Coordinating Council Empowerment Neighborhoods.

“Water control structure” means a structure within, or adjacent to, a water, which intentionally or coincidentally alters the hydraulic capacity, the flood elevation resulting from the two-, 10-, or 100-year storm, flood hazard area limit, and/or floodway limit of the water. Examples of a water control structure may include a bridge, culvert, dam, embankment, ford (if above grade), retaining wall, and weir.

“Waters of the State” means the ocean and its estuaries, all springs, streams, wetlands, and bodies of surface or groundwater, whether natural or artificial, within the boundaries of the State of New Jersey or subject to its jurisdiction.

“Wetlands” or “wetland” means an area that is inundated or saturated by surface water or ground water at a frequency and duration sufficient to support, and that under normal circumstances does support, a prevalence of vegetation typically adapted for life in saturated soil conditions, commonly known as hydrophytic vegetation.

Section III.  Design and Performance Standards for Stormwater Management Measures

A. Stormwater management measures for major development shall be designed to provide erosion control, groundwater recharge, stormwater runoff quantity control, and stormwater runoff quality treatment as follows:

- The minimum standards for erosion control are those established under the Soil and Sediment Control Act, N.J.S.A. 4:24-39 et seq., and implementing rules at N.J.A.C. 2:90.

- The minimum standards for groundwater recharge, stormwater quality, and stormwater runoff quantity shall be met by incorporating green infrastructure.

B. The standards in this ordinance apply only to new major   development and are intended to minimize the impact of stormwater runoff on water quality and water quantity in receiving water bodies and maintain groundwater recharge.  The standards do not apply to new major development to the extent that alternative design and performance standards are applicable under a regional stormwater management plan or Water Quality Management Plan adopted in accordance with Department rules.

Note:  Alternative standards shall provide at least as much protection from stormwater-related loss of groundwater recharge, stormwater quantity and water quality impacts of major development projects as would be provided under the standards in N.J.A.C. 7:8-5.

Section IV.  Stormwater Management Requirements for Major Development

- The development shall incorporate a maintenance plan for the stormwater management measures incorporated into the design of a major development in accordance with Section X.

- Stormwater management measures shall avoid adverse impacts of concentrated flow on habitat for threatened and endangered species as documented in the Department’s Landscape Project or Natural Heritage Database established under N.J.S.A. 13:1B-15.147 through 15.150, particularly Helonias bullata (swamp pink) and/or Clemmys muhlnebergi (bog turtle).

- The following linear development projects are exempt from the groundwater recharge, stormwater runoff quality, and stormwater runoff quantity requirements of Section IV.P, Q and R:

- The construction of an underground utility line provided that the disturbed areas are revegetated upon completion;

- The construction of an aboveground utility line provided that the existing conditions are maintained to the maximum extent practicable; and

- The construction of a public pedestrian access, such as a sidewalk or trail with a maximum width of 14 feet, provided that the access is made of permeable material.

- A waiver from strict compliance from the green infrastructure, groundwater recharge, stormwater runoff quality, and stormwater runoff quantity requirements of Section IV.O, P, Q and R may be obtained for the enlargement of an existing public roadway or railroad; or the construction or enlargement of a public pedestrian access, provided that the following conditions are met:

- The applicant demonstrates that there is a public need for the project that cannot be accomplished by any other means;

- The applicant demonstrates through an alternatives analysis, that through the use of stormwater management measures, the option selected complies with the requirements of Section IV.O, P, Q and R to the maximum extent practicable;

- The applicant demonstrates that, in order to meet the requirements of Section IV.O, P, Q and R, existing structures currently in use, such as homes and buildings, would need to be condemned; and

- The applicant demonstrates that it does not own or have other rights to areas, including the potential to obtain through condemnation lands not falling under IV.D.3 above within the upstream drainage area of the receiving stream, that would provide additional opportunities to mitigate the requirements of Section IV.O, P, Q and R that were not achievable onsite.

- Tables 1 through 3 below summarize the ability of stormwater best management practices identified and described in the New Jersey Stormwater Best Management:

Practices Manual to satisfy the green infrastructure, groundwater recharge, stormwater runoff quality and stormwater runoff quantity standards specified in Section IV.O, P, Q and R.  When designed in accordance with the most current version of the New Jersey Stormwater Best Management Practices Manual, the stormwater management measures found at N.J.A.C. 7:8-5.2 (f) Tables 5-1, 5-2 and 5-3 and listed below in Tables 1, 2 and 3 are presumed to be capable of providing stormwater controls for the design and performance standards as outlined in the tables below.  Upon amendments of the New Jersey Stormwater Best Management Practices to reflect additions or deletions of BMPs meeting these standards, or changes in the presumed performance of BMPs designed in accordance with the New Jersey Stormwater BMP Manual, the Department shall publish in the New Jersey Registers a notice of administrative change revising the applicable table.  The most current version of the BMP Manual can be found on the Department’s website at:

https://dep.nj.gov/stormwater/bmp-manual/.

Where the BMP tables in the NJ Stormwater Management Rule are different due to updates or amendments with the tables in this ordinance the BMP Tables in the Stormwater Management rule at N.J.A.C. 7:8-5.2(f) shall take precedence.

| Table 1 Green Infrastructure BMPs for Groundwater Recharge, Stormwater Runoff Quality, and/or Stormwater Runoff Quantity |  |  |  |  |
| --- | --- | --- | --- | --- |
| Best Management Practice | Stormwater Runoff Quality TSS Removal Rate (percent) | Stormwater Runoff Quantity | Groundwater Recharge | Minimum Separation from Seasonal High Water Table (feet) |
| Cistern | 0 | Yes | No | -- |
| Dry Well(a) | 0 | No | Yes | 2 |
| Grass Swale | 50 or less | No | No | 2(e) 1(f) |
| Green Roof | 0 | Yes | No | -- |
| Manufactured Treatment Device(a) (g) | 50 or 80 | No | No | Dependent upon the device |
| Pervious Paving System(a) | 80 | Yes | Yes(b) No(c) | 2(b) 1(c) |
| Small-Scale Bioretention Basin(a) | 80 or 90 | Yes | Yes(b) No(c) | 2(b) 1(c) |
| Small-Scale Infiltration Basin(a) | 80 | Yes | Yes | 2 |
| Small-Scale Sand Filter | 80 | Yes | Yes | 2 |
| Vegetative Filter Strip | 60-80 | No | No | -- |

(Notes corresponding to annotations (a) through (g) are found on Page D-14)

| Table 2 Green Infrastructure BMPs for Stormwater Runoff Quantity (or for Groundwater Recharge and/or Stormwater Runoff Quality with a Waiver or Variance from N.J.A.C. 7:8-5.3) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Best Management Practice | Stormwater Runoff Quality TSS Removal Rate (percent) | Stormwater Runoff Quantity | Groundwater Recharge | Minimum Separation from Seasonal High Water Table (feet) |
| Bioretention System | 80 or 90 | Yes | Yes(b) No(c) | 2(b) 1(c) |
| Infiltration Basin | 80 | Yes | Yes | 2 |
| Sand Filter(b) | 80 | Yes | Yes | 2 |
| Standard Constructed Wetland | 90 | Yes | No | N/A |
| Wet Pond(d) | 50-90 | Yes | No | N/A |

(Notes corresponding to annotations (b) through (d) are found on Page D-14)

| Table 3 BMPs for Groundwater Recharge, Stormwater Runoff Quality, and/or Stormwater Runoff Quantity only with a Waiver or Variance from N.J.A.C. 7:8-5.3 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Best Management Practice | Stormwater Runoff Quality TSS Removal Rate (percent) | Stormwater Runoff Quantity | Groundwater Recharge | Minimum Separation from Seasonal High Water Table (feet) |
| Blue Roof | 0 | Yes | No | N/A |
| Extended Detention Basin | 40-60 | Yes | No | 1 |
| Manufactured Treatment Device(h) | 50 or 80 | No | No | Dependent upon the device |
| Sand Filter(c) | 80 | Yes | No | 1 |
| Subsurface Gravel Wetland | 90 | No | No | 1 |
| Wet Pond | 50-90 | Yes | No | N/A |

(Notes corresponding to annotations (b) through (d) are found on Page D-14)

Notes to Tables 1, 2, and 3:

(a)subject to the applicable contributory drainage    area limitation specified at Section IV.O.2;

(b)designed to infiltrate into the subsoil;

(c)designed with underdrains;

(d)designed to maintain at least a 10-foot wide area       of native vegetation along at least 50 percent of the shoreline and to include a stormwater runoff retention component designed to capture stormwater runoff for beneficial reuse, such as irrigation;

(e)designed with a slope of less than two percent;

(f)designed with a slope of equal to or greater than        two percent;

(g)manufactured treatment devices that meet the definition of green infrastructure at Section II;

(h)manufactured treatment devices that do not meet the definition of green infrastructure at Section II.

- An alternative stormwater management measure, alternative removal rate, and/or alternative method to calculate the removal rate may be used if the design engineer demonstrates the capability of the proposed alternative stormwater management measure and/or the validity of the alternative rate or method to the municipality.  A copy of any approved alternative stormwater management measure, alternative removal rate, and/or alternative method to calculate the removal rate shall be provided to the Department in accordance with Section VI.B.  Alternative stormwater management measures may be used to satisfy the requirements at Section IV.O only if the measures meet the definition of green infrastructure at Section II.  Alternative stormwater management measures that function in a similar manner to a BMP listed at Section O.2 are subject to the contributory drainage area limitation specified at Section O.2 for that similarly functioning BMP.  Alternative stormwater management measures approved in accordance with this subsection that do not function in a similar manner to any BMP listed at Section O.2 shall have a contributory drainage area less than or equal to 2.5 acres, except for alternative stormwater management measures that function similarly to cisterns, grass swales, green roofs, standard constructed wetlands, vegetative filter strips, and wet ponds, which are not subject to a contributory drainage area limitation.  Alternative measures that function similarly to standard constructed wetlands or wet ponds shall not be used for compliance with the stormwater runoff quality standard unless a variance in accordance with N.J.A.C. 7:8-4.6 or a waiver from strict compliance in accordance with Section IV.D is granted from Section IV.O.

- Whenever the stormwater management design includes one or more BMPs that will infiltrate stormwater into subsoil, the design engineer shall assess the hydraulic impact on the groundwater table and design the site, so as to avoid adverse hydraulic impacts.  Potential adverse hydraulic impacts include, but are not limited to, exacerbating a naturally or seasonally high water table, so as to cause surficial ponding, flooding of basements, or interference with the proper operation of subsurface sewage disposal systems or other subsurface structures within the zone of influence of the groundwater mound, or interference with the proper functioning of the stormwater management measure itself.

- Design standards for stormwater management measures are as follows:

- Stormwater management measures shall be designed to take into account the existing site conditions, including, but not limited to, environmentally critical areas; wetlands; flood-prone areas; slopes; depth to seasonal high water table; soil type, permeability, and texture; drainage area and drainage patterns; and the presence of solution-prone carbonate rocks (limestone);

- Stormwater management measures shall be designed to minimize maintenance, facilitate maintenance and repairs, and ensure proper functioning.  Trash racks shall be installed at the intake to the outlet structure, as appropriate, and shall have parallel bars with one-inch spacing between the bars to the elevation of the water quality design storm.  For elevations higher than the water quality design storm, the parallel bars at the outlet structure shall be spaced no greater than one-third the width of the diameter of the orifice or one-third the width of the weir, with a minimum spacing between bars of one inch and a maximum spacing between bars of six inches.  In addition, the design of trash racks must comply with the requirements of Section VIII.C;

- Stormwater management measures shall be designed, constructed, and installed to be strong, durable, and corrosion resistant.  Measures that are consistent with the relevant portions of the Residential Site Improvement Standards at N.J.A.C. 5:21-7.3, 7.4, and 7.5 shall be deemed to meet this requirement;

- Stormwater management BMPs shall be designed to meet the minimum safety standards for stormwater management BMPs at Section VIII; and

- The size of the orifice at the intake to the outlet from the stormwater management BMP shall be a minimum of two and one-half inches in diameter.

- Manufactured treatment devices may be used to meet the requirements of this subchapter, provided the pollutant removal rates are verified by the New Jersey Corporation for Advanced Technology and certified by the Department. Manufactured treatment devices that do not meet the definition of green infrastructure at Section II may be used only under the circumstances described at Section IV.O.4.

- Any application for a new agricultural development that meets the definition of major development at Section II shall be submitted to the Soil Conservation District for review and approval in accordance with the requirements at Sections IV.O, P, Q and R and any applicable Soil Conservation District guidelines for stormwater runoff quantity and erosion control.  For purposes of this subsection, "agricultural development" means land uses normally associated with the production of food, fiber, and livestock for sale.  Such uses do not include the development of land for the processing or sale of food and the manufacture of agriculturally related products.

- If there is more than one drainage area, the groundwater recharge, stormwater runoff quality, and stormwater runoff quantity standards at Section IV.P, Q and R shall be met in each drainage area, unless the runoff from the drainage areas converge onsite and no adverse environmental impact would occur as a result of compliance with any one or more of the individual standards being determined utilizing a weighted average of the results achieved for that individual standard across the affected drainage areas.

M.	Any stormwater management measure authorized under the municipal stormwater management plan or ordinance shall be reflected in a deed notice recorded in the Office of Bergen County Clerk.  A form of deed notice shall be submitted to the municipality for approval prior to filing.  The deed notice shall contain a description of the stormwater management measure(s) used to meet the green infrastructure, groundwater recharge, stormwater runoff quality, and stormwater runoff quantity standards at Section IV.O, P, Q and R and shall identify the location of the stormwater management measure(s) in NAD 1983 State Plane New Jersey FIPS 2900 US Feet or Latitude and Longitude in decimal degrees.  The deed notice shall also reference the maintenance plan required to be recorded upon the deed pursuant to Section X.B.5.  Prior to the commencement of construction, proof that the above required deed notice has been filed shall be submitted to the municipality.  Proof that the required information has been recorded on the deed shall be in the form of either a copy of the complete recorded document or a receipt from the clerk or other proof of recordation provided by the recording office.  However, if the initial proof provided to the municipality is not a copy of the complete recorded document, a copy of the complete recorded document shall be provided to the municipality within 180 calendar days of the authorization granted by the municipality.

- A stormwater management measure approved under the municipal stormwater management plan or ordinance may be altered or replaced with the approval of the municipality, if the municipality determines that the proposed alteration or replacement meets the design and performance standards pursuant to Section IV of this ordinance and provides the same level of stormwater management as the previously approved stormwater management measure that is being altered or replaced.  If an alteration or replacement is approved, a revised deed notice shall be submitted to the municipality for approval and subsequently recorded with the Bergen County Clerk and shall contain a description and location of the stormwater management measure, as well as reference to the maintenance plan, in accordance with M above.  Prior to the commencement of construction, proof that the above required deed notice has been filed shall be submitted to the municipality in accordance with M above.

- Green Infrastructure Standards

- This subsection specifies the types of green infrastructure BMPs that may be used to satisfy the groundwater recharge, stormwater runoff quality, and stormwater runoff quantity standards.

- To satisfy the groundwater recharge and stormwater runoff quality standards at Section IV.P and Q, the design engineer shall utilize green infrastructure BMPs identified in Table 1 at Section IV.F. and/or an alternative stormwater management measure approved in accordance with Section IV.G.  The following green infrastructure BMPs are subject to the following maximum contributory drainage area limitations:

| Best Management Practice | Maximum Contributory Drainage Area |
| --- | --- |
| Dry Well | 1 acre |
| Manufactured Treatment Device | 2.5 acres |
| Pervious Pavement Systems | Area of additional inflow cannot exceed three times the area occupied by the BMP |
| Small-scale Bioretention Systems | 2.5 acres |
| Small-scale Infiltration Basin | 2.5 acres |
| Small-scale Sand Filter | 2.5 acres |

- To satisfy the stormwater runoff quantity standards at Section IV.R, the design engineer shall utilize BMPs from Table 1 or from Table 2 and/or an alternative stormwater management measure approved in accordance with Section IV.G.

- If a variance in accordance with N.J.A.C. 7:8-4.6 or a waiver from strict compliance in accordance with Section IV.D is granted from the requirements of this subsection, then BMPs from Table 1, 2, or 3, and/or an alternative stormwater management measure approved in accordance with Section IV.G may be used to meet the groundwater recharge, stormwater runoff quality, and stormwater runoff quantity standards at Section IV.P, Q and R.

5.For separate or combined storm sewer improvement projects, such as sewer separation, undertaken by a government agency or public utility (for example, a sewerage company), the requirements of this subsection shall only apply to areas owned in fee simple by the government agency or utility, and areas within a right-of-way or easement held or controlled by the government agency or utility; the entity shall not be required to obtain additional property or property rights to fully satisfy the requirements of this subsection.  Regardless of the amount of area of a separate or combined storm sewer improvement project subject to the green infrastructure requirements of this subsection, each project shall fully comply with the applicable groundwater recharge, stormwater runoff quality control, and stormwater runoff quantity standards at Section IV.P, Q and R, unless the project is granted a waiver from strict compliance in accordance with Section IV.D.

- Groundwater Recharge Standards

- This subsection contains the minimum design and performance standards for groundwater recharge as follows:

- The design engineer shall, using the assumptions and factors for stormwater runoff and groundwater recharge calculations at Section V, either:

- Demonstrate through hydrologic and hydraulic analysis that the site and its stormwater management measures maintain 100 percent of the average annual pre-construction groundwater recharge volume for the site; or

- Demonstrate through hydrologic and hydraulic analysis that the increase of stormwater runoff volume from pre-construction to post-construction for the projected 2-year storm, as defined and determined pursuant to Section V.D of this ordinance is infiltrated.

- This groundwater recharge requirement does not apply to projects within the “urban redevelopment area,” or to projects subject to 4 below.

- The following types of stormwater shall not be recharged:

- Stormwater from areas of high pollutant loading.  High pollutant loading areas are areas in industrial and commercial developments where solvents and/or petroleum products are loaded/unloaded, stored, or applied, areas where pesticides are loaded/unloaded or stored; areas where hazardous materials are expected to be present in greater than “reportable quantities” as defined by the United States Environmental Protection Agency (EPA) at 40 CFR 302.4; areas where recharge would be inconsistent with Department approved remedial action work plan approved pursuant to the Administrative Requirements for the Remediation of Contaminated Sites rules, N.J.A.C. 7:26C, or Department landfill closure plan and areas; and areas with high risks for spills of toxic materials, such as gas stations and vehicle maintenance facilities; and

- Industrial stormwater exposed to “source material.” “Source material” means any material(s) or machinery, located at an industrial facility, that is directly or indirectly related to process, manufacturing or other industrial activities, which could be a source of pollutants in any industrial stormwater discharge to groundwater.  Source materials include, but are not limited to, raw materials; intermediate products; final products; waste materials; by-products; industrial machinery and fuels, and lubricants, solvents, and detergents that are related to process, manufacturing, or other industrial activities that are exposed to stormwater.

- Stormwater Runoff Quality Standards

- This subsection contains the minimum design and performance standards to control stormwater runoff quality impacts of major development. Stormwater runoff quality standards are applicable when the major development results in an increase of one-quarter acre or more of regulated motor vehicle surface.

- Stormwater management measures shall be designed to reduce the post-construction load of total suspended solids (TSS) in stormwater runoff generated from the water quality design storm as follows:

- Eighty percent TSS removal of the anticipated load, expressed as an annual average shall be achieved for the stormwater runoff from the net increase of motor vehicle surface.

- If the surface is considered regulated motor vehicle surface because the water quality treatment for an area of motor vehicle surface that is currently receiving water quality treatment either by vegetation or soil, by an existing stormwater management measure, or by treatment at a wastewater treatment plant is to be modified or removed, the project shall maintain or increase the existing TSS removal of the anticipated load expressed as an annual average.

- The requirement to reduce TSS does not apply to any stormwater runoff in a discharge regulated under a numeric effluent limitation for TSS imposed under the New Jersey Pollutant Discharge Elimination System (NJPDES) rules, N.J.A.C. 7:14A, or in a discharge specifically exempt under a NJPDES permit from this requirement. Every major development, including any that discharge into a combined sewer system, shall comply with 2 above, unless the major development is itself subject to a NJPDES permit with a numeric effluent limitation for TSS or the NJPDES permit to which the major development is subject exempts the development from a numeric effluent limitation for TSS.

- The water quality design storm is 1.25 inches of rainfall in two hours.  Water quality calculations shall take into account the distribution of rain from the water quality design storm, as reflected in Table 4, below.  The calculation of the volume of runoff may take into account the implementation of stormwater management measures.

Table 4 - Water Quality Design Storm Distribution

- If more than one BMP in series is necessary to achieve the required 80 percent TSS reduction for a site, the applicant shall utilize the following formula to calculate TSS reduction:

R = A + B – (A x B) / 100,

Where

R = total TSS Percent Load Removal from application of both BMPs, and

A = the TSS Percent Removal Rate applicable to the first BMP

B = the TSS Percent Removal Rate applicable to the second BMP.

- Stormwater management measures shall also be designed to reduce, to the maximum extent feasible, the post-construction nutrient load of the anticipated load from the developed site in stormwater runoff generated from the water quality design storm.  In achieving reduction of nutrients to the maximum extent feasible, the design of the site shall include green infrastructure BMPs that optimize nutrient removal while still achieving the performance standards in Section IV.P, Q and R.

- In accordance with the definition of FW1 at N.J.A.C. 7:9B-1.4, stormwater management measures shall be designed to prevent any increase in stormwater runoff to waters classified as FW1.

- The Flood Hazard Area Control Act Rules at N.J.A.C. 7:13-4.1(c)1 establish 300-foot riparian zones along Category One waters, as designated in the Surface Water Quality Standards at N.J.A.C. 7:9B, and certain upstream tributaries to Category One waters.  A person shall not undertake a major development that is located within or discharges into a 300-foot riparian zone without prior authorization from the Department under N.J.A.C. 7:13.

- Pursuant to the Flood Hazard Area Control Act Rules at N.J.A.C. 7:13-11.2(j)3. i, runoff from the water quality design storm that is discharged within a 300-foot riparian zone shall be treated in accordance with this subsection to reduce the post-construction load of total suspended solids by 95 percent of the anticipated load from the developed site, expressed as an annual average.

10.The stormwater runoff quality standards do not apply to the construction of one individual single-family dwelling, provided that it is not part of a larger development or subdivision that has received preliminary or final site plan approval prior to December 3, 2018, and that the motor vehicle surfaces are made of permeable material(s) such as gravel, dirt, and/or shells.

- Stormwater Runoff Quantity Standards

- This subsection contains the minimum design and performance standards to control stormwater runoff quantity impacts of major development.

- In order to control stormwater runoff quantity impacts, the design engineer shall, using the assumptions and factors for stormwater runoff calculations at Section V, complete one of the following:

- Demonstrate through hydrologic and hydraulic analysis that for stormwater leaving the site, post-construction runoff hydrographs for the current and projected 2-, 10-, and 100-year storm events, as defined and determined in Section V.C and D, respectively, of this ordinance, do not exceed, at any point in time, the pre-construction runoff hydrographs for the same storm events;

- Demonstrate through hydrologic and hydraulic analysis that there is no increase, as compared to the pre-construction condition, in the peak runoff rates of stormwater leaving the site for the current and projected 2-, 10-, and 100-year storm events, as defined and determined pursuant to Section V.C and D, respectively, of this ordinance, and that the increased volume or change in timing of stormwater runoff will not increase flood damage at or downstream of the site.  This analysis shall include the analysis of impacts of existing land uses and projected land uses assuming full development under existing zoning and land use ordinances in the drainage area;

- Design stormwater management measures so that the post-construction peak runoff rates for the current and projected 2-, 10-, and 100-year storm events, as defined and determined in Section V.C and D, respectively, of this ordinance, are 50, 75 and 80 percent, respectively, of the pre-construction peak runoff rates.  The percentages apply only to the post-construction stormwater runoff that is attributable to the portion of the site on which the proposed development or project is to be constructed; or

- In tidal flood hazard areas, stormwater runoff quantity analysis in accordance with 2.i, ii and iii above is required unless the design engineer demonstrates through hydrologic and hydraulic analysis that the increased volume, change in timing, or increased rate of the stormwater runoff, or any combination of the three will not result in additional flood damage below the point of discharge of the major development.  No analysis is required if the stormwater is discharged directly into any ocean, bay, inlet, or the reach of any watercourse between its confluence with an ocean, bay, or inlet and downstream of the first water control structure.

- The stormwater runoff quantity standards shall be applied at the site’s boundary to each abutting lot, roadway, watercourse, or receiving storm sewer system.

Section V.  Calculation of Stormwater Runoff and Groundwater Recharge:

- Stormwater runoff shall be calculated in accordance with the following:

- The design engineer shall calculate runoff using the following method:

The USDA Natural Resources Conservation Service (NRCS) methodology, including the NRCS Runoff Equation and Dimensionless Unit Hydrograph, as described in Chapters 7, 9, 10, 15 and 16 Part 630, Hydrology National Engineering Handbook, incorporated herein by reference as amended and supplemented.  This methodology is additionally described in Technical Release 55 - Urban Hydrology for Small Watersheds (TR-55), dated June 1986, incorporated herein by reference as amended and supplemented.  Information regarding the methodology is available from the Natural Resources Conservation Service website at:

https://directives.sc.egov.usda.gov/viewerFS.aspx?hid=21422

or at United States Department of Agriculture Natural Resources Conservation Service, New Jersey State Office.

- For the purpose of calculating curve numbers and groundwater recharge, there is a presumption that the pre-construction condition of a site or portion thereof is a wooded land use with good hydrologic condition.  The term “curve number” applies to the NRCS methodology above at Section V.A.1.  A curve number or a groundwater recharge land cover for an existing condition may be used on all or a portion of the site if the design engineer verifies that the hydrologic condition has existed on the site or portion of the site for at least five years without interruption prior to the time of application.  If more than one land cover has existed on the site during the five years immediately prior to the time of application, the land cover with the lowest runoff potential shall be used for the computations.  In addition, there is the presumption that the site is in good hydrologic condition (if the land use type is pasture, lawn, or park), with good cover (if the land use type is woods), or with good hydrologic condition and conservation treatment (if the land use type is cultivation).

- In computing pre-construction stormwater runoff, the design engineer shall account for all significant land features and structures, such as ponds, wetlands, depressions, hedgerows, or culverts, that may reduce pre-construction stormwater runoff rates and volumes.

- In computing stormwater runoff from all design storms, the design engineer shall consider the relative stormwater runoff rates and/or volumes of pervious and impervious surfaces separately to accurately compute the rates and volume of stormwater runoff from the site.  To calculate runoff from unconnected impervious cover, urban impervious area modifications as described in the NRCS Technical Release 55 – Urban Hydrology for Small Watersheds or other methods may be employed.

- If the invert of the outlet structure of a stormwater management measure is below the flood hazard design flood elevation as defined at N.J.A.C. 7:13, the design engineer shall take into account the effects of tailwater in the design of structural stormwater management measures.

- Groundwater recharge may be calculated in accordance with the following:

The New Jersey Geological Survey Report GSR-32:  A Method for Evaluating Groundwater-Recharge Areas in New Jersey, incorporated herein by reference as amended and supplemented.  Information regarding the methodology is available from the New Jersey Stormwater Best Management Practices Manual; at the New Jersey Geological Survey website at:

https://www.nj.gov/dep/njgs/pricelst/gsreport/gsr32.pdf

or at New Jersey Geological and Water Survey, 29 Arctic Parkway, PO Box 420 Mail Code 29-01, Trenton, New Jersey 08625-0420.

- The precipitation depths of the current two-, 10-, and 100-year storm events shall be determined by multiplying the values determined in accordance with items 1 and 2 below:

- The applicant shall utilize the National Oceanographic and Atmospheric Administration (NOAA), National Weather Service’s Atlas 14 Point Precipitation Frequency Estimates:  NJ, in accordance with the location(s) of the drainage area(s) of the site.  This data is available at:

https://hdsc.nws.noaa.gov/hdsc/pfds/pfds_map_cont.html?bkmrk=nj; and

- The applicant shall utilize Table 5:  Current Precipitation Adjustment Factors below, which sets forth the applicable multiplier for the drainage area(s) of the site, in accordance with the county or counties where the drainage area(s) of the site is located.  Where the major development lies in more than one county, the precipitation values shall be adjusted according to the percentage of the drainage area in each county.  Alternately, separate rainfall totals can be developed for each county using the values in the table below.

NOTE:  The municipality may instead wish to abbreviate this table along with the text in Item 2 above to reflect only the relevant information, depending on the location of the municipality.  The current precipitation adjustment factors added to the ordinance shall be those found in N.J.A.C. 7:8-5.7(c) as Table 5-5.

Table 5:  Current Precipitation Adjustment Factors

| County | Current Precipitation Adjustment Factors |  |  |
| --- | --- | --- | --- |
|  | 2-year Design Storm | 10-year Design Storm | 100-year Design Storm |
| Atlantic | 1.01 | 1.02 | 1.03 |
| Bergen | 1.01 | 1.03 | 1.06 |
| Burlington | 0.99 | 1.01 | 1.04 |
| Camden | 1.03 | 1.04 | 1.05 |
| Cape May | 1.03 | 1.03 | 1.04 |
| Cumberland | 1.03 | 1.03 | 1.01 |
| Essex | 1.01 | 1.03 | 1.06 |
| Gloucester | 1.05 | 1.06 | 1.06 |
| Hudson | 1.03 | 1.05 | 1.09 |
| Hunterdon | 1.02 | 1.05 | 1.13 |
| Mercer | 1.01 | 1.02 | 1.04 |
| Middlesex | 1.00 | 1.01 | 1.03 |
| Monmouth | 1.00 | 1.01 | 1.02 |
| Morris | 1.01 | 1.03 | 1.06 |
| Ocean | 1.00 | 1.01 | 1.03 |
| Passaic | 1.00 | 1.02 | 1.05 |
| Salem | 1.02 | 1.03 | 1.03 |
| Somerset | 1.00 | 1.03 | 1.09 |
| Sussex | 1.03 | 1.04 | 1.07 |
| Union | 1.01 | 1.03 | 1.06 |
| Warren | 1.02 | 1.07 | 1.15 |

- Table 6:  Future Precipitation Change Factors provided below sets forth the change factors to be used in determining the projected two-, 10-, and 100-year storm events for use in this chapter, which are organized alphabetically by county.  The precipitation depth of the projected two-, 10-, and 100-year storm events of a site shall be determined by multiplying the precipitation depth of the two-, 10-, and 100-year storm events determined from the National Weather Service’s Atlas 14 Point Precipitation Frequency Estimates pursuant to (c)1 above, by the change factor in the table below, in accordance with the county or counties where the drainage area(s) of the site is located.  Where the major development and/or its drainage area lies in more than one county, the precipitation values shall be adjusted according to the percentage of the drainage area in each county.  Alternately, separate rainfall totals can be developed for each county using the values in the table below.

NOTE:  The municipality may instead wish to abbreviate this table along with the text in Item D above to reflect only the relevant information, depending on the location of the municipality.  The future precipitation change factors added to the ordinance shall be those found in N.J.A.C. 7:8-5.7(d) as Table 5-6.

Table 6:  Future Precipitation Change Factors

| County | Future Precipitation Change Factors |  |  |
| --- | --- | --- | --- |
|  | 2-year Design Storm | 10-year Design Storm | 10-year Design Storm |
| Atlantic | 1.22 | 1.24 | 1.39 |
| Bergen | 1.20 | 1.23 | 1.37 |
| Burlington | 1.17 | 1.18 | 1.32 |
| Camden | 1.18 | 1.22 | 1.39 |
| Cape May | 1.21 | 1.24 | 1.32 |
| Cumberland | 1.20 | 1.21 | 1.39 |
| Essex | 1.19 | 1.22 | 1.33 |
| Gloucester | 1.19 | 1.23 | 1.41 |
| Hudson | 1.19 | 1.19 | 1.23 |
| Hunterdon | 1.19 | 1.23 | 1.42 |
| Mercer | 1.16 | 1.17 | 1.36 |
| Middlesex | 1.19 | 1.21 | 1.33 |
| Monmouth | 1.19 | 1.19 | 1.26 |
| Morris | 1.23 | 1.28 | 1.46 |
| Ocean | 1.18 | 1.19 | 1.24 |
| Passaic | 1.21 | 1.27 | 1.50 |
| Salem | 1.20 | 1.23 | 1.32 |
| Somerset | 1.19 | 1.24 | 1.48 |
| Sussex | 1.24 | 1.29 | 1.50 |
| Union | 1.20 | 1.23 | 1.35 |
| Warren | 1.20 | 1.25 | 1.37 |

Section VI.  Sources for Technical Guidance:

- Technical guidance for stormwater management measures can be found in the documents listed below, which are available to download from the Department’s website at:

https://dep.nj.gov/stormwater/bmp-manual/.

- Guidelines for stormwater management measures are contained in the New Jersey Stormwater Best Management Practices Manual, as amended and supplemented.  Information is provided on stormwater management measures such as, but not limited to, those listed in Tables 1, 2, and 3.

- Additional maintenance guidance is available on the Department’s website at:

https://dep.nj.gov/stormwater/maintenance-guidance/.

- Submissions required for review by the Department should be mailed to:

The Division of Watershed Protection and Restoration, New Jersey Department of Environmental Protection, Mail Code 501-02A, PO Box 420, Trenton, New Jersey 08625-0420.

Section VII.  Solids and Floatable Materials Control Standards:

- Site design features identified under Section IV.F above, or alternative designs in accordance with Section IV.G above, to prevent discharge of trash and debris from drainage systems shall comply with the following standard to control passage of solid and floatable materials through storm drain inlets.  For purposes of this paragraph, “solid and floatable materials” means sediment, debris, trash, and other floating, suspended, or settleable solids.  For exemptions to this standard see Section VII.A.2 below.

- Design engineers shall use one of the following grates whenever they use a grate in pavement or another ground surface to collect stormwater from that surface into a storm drain or surface water body under that grate:

- The New Jersey Department of Transportation (NJDOT) bicycle safe grate, which is described in Chapter 2.4 of the NJDOT Bicycle Compatible Roadways and Bikeways Planning and Design Guidelines; or

- A different grate, if each individual clear space in that grate has an area of no more than seven (7.0) square inches, or is no greater than 0.5 inches across the smallest dimension.

Examples of grates subject to this standard include grates in grate inlets, the grate portion (non-curb-opening portion) of combination inlets, grates on storm sewer manholes, ditch grates, trench grates, and grates of spacer bars in slotted drains.  Examples of ground surfaces include surfaces of roads (including bridges), driveways, parking areas, bikeways, plazas, sidewalks, lawns, fields, open channels, and stormwater system floors used to collect stormwater from the surface into a storm drain or surface water body.

- For curb-opening inlets, including curb-opening inlets in combination inlets, the clear space in that curb opening, or each individual clear space if the curb opening has two or more clear spaces, shall have an area of no more than seven (7.0) square inches, or be no greater than two (2.0) inches across the smallest dimension.

- The standard in A.1. above does not apply:

- Where each individual clear space in the curb opening in existing curb-opening inlet does not have an area of more than nine (9.0) square inches;

- Where the municipality agrees that the standards would cause inadequate hydraulic performance that could not practicably be overcome by using additional or larger storm drain inlets;

- Where flows from the water quality design storm as specified in N.J.A.C. 7:8 are conveyed through any device (e.g., end of pipe netting facility, manufactured treatment device, or a catch basin hood) that is designed, at a minimum, to prevent delivery of all solid and floatable materials that could not pass through one of the following:

  - A rectangular space four and five-eighths (4.625) inches long and one and one-half (1.5) inches wide (this option does not apply for outfall netting facilities); or

- A bar screen having a bar spacing of 0.5 inches.

Note that these exemptions do not authorize any infringement of requirements in the Residential Site Improvement Standards for bicycle safe grates in new residential development (N.J.A.C. 5:21-4.18(b)2 and 7.4(b)1).

- Where flows are conveyed through a trash rack that has parallel bars with one-inch (1 inch) spacing between the bars, to the elevation of the Water Quality Design Storm as specified in N.J.A.C. 7:8; or

- Where the New Jersey Department of Environmental Protection determines, pursuant to the New Jersey Register of Historic Places Rules at N.J.A.C. 7:4-7.2(c), that action to meet this standard is an undertaking that constitutes an encroachment or will damage or destroy the New Jersey Register listed historic property.

Section VIII.  Safety Standards for Stormwater Management Basins:

- This section sets forth requirements to protect public safety through the proper design and operation of stormwater management BMPs.  This section applies to any new stormwater management BMP.

- The provisions of this section are not intended to preempt more stringent municipal or county safety requirements for new or existing stormwater management BMPs.  Municipal and county stormwater management plans and ordinances may, pursuant to their authority, require existing stormwater management BMPs to be retrofitted to meet one or more of the safety standards in Section VIII.C.1, VIII.C.2, and VIII.C.3 for trash racks, overflow grates, and escape provisions at outlet structures.

- Requirements for Trash Racks, Overflow Grates and Escape Provisions

- A trash rack is a device designed to catch trash and debris and prevent the clogging of outlet structures.  Trash racks shall be installed at the intake to the outlet from the Stormwater management BMP to ensure proper functioning of the BMP outlets in accordance with the following:

- The trash rack shall have parallel bars, with no greater than six-inch spacing between the bars;

- The trash rack shall be designed so as not to adversely affect the hydraulic performance of the outlet pipe or structure;

- The average velocity of flow through a clean trash rack is not to exceed 2.5 feet per second under the full range of stage and discharge.  Velocity is to be computed on the basis of the net area of opening through the rack; and

- The trash rack shall be constructed of rigid, durable, and corrosion resistant material and designed to withstand a perpendicular live loading of 300 pounds per square foot.

- An overflow grate is designed to prevent obstruction of the overflow structure.  If an outlet structure has an overflow grate, such grate shall meet the following requirements:

- The overflow grate shall be secured to the outlet structure but removable for emergencies and maintenance.

- The overflow grate spacing shall be no greater than two inches across the smallest dimension

- The overflow grate shall be constructed and installed to be rigid, durable, and corrosion resistant, and shall be designed to withstand a perpendicular live loading of 300 pounds per square foot.

- Stormwater management BMPs shall include escape provisions as follows:

- If a stormwater management BMP has an outlet structure, escape provisions shall be incorporated in or on the structure.  Escape provisions include the installation of permanent ladders, steps, rungs, or other features that provide easily accessible means of egress from stormwater management BMPs.  With the prior approval of the municipality pursuant to VIII.C, a free-standing outlet structure may be exempted from this requirement;

- Safety ledges shall be constructed on the slopes of all new stormwater management BMPs having a permanent pool of water deeper than two and one-half feet.  Safety ledges shall be comprised of two steps.  Each step shall be four to six feet in width.  One step shall be located approximately two and one-half feet below the permanent water surface, and the second step shall be located one to one and one-half feet above the permanent water surface.  See VIII.E for an illustration of safety ledges in a stormwater management BMP; and

- In new stormwater management BMPs, the maximum interior slope for an earthen dam, embankment, or berm shall not be steeper than three horizontals to one vertical.

- Variance or Exemption from Safety Standard

A variance or exemption from the safety standards for stormwater management BMPs may be granted only upon a written finding by the municipality that the variance or exemption will not constitute a threat to public safety.

- Safety Ledge Illustration

Elevation View –Basin Safety Ledge Configuration

Section IX.  Requirements for a Site Development Stormwater Plan:

- Submission of Site Development Stormwater Plan

- Whenever an applicant seeks municipal approval of a development subject to this ordinance, the applicant shall submit all of the required components of the Checklist for the Site Development Stormwater Plan at Section IX.C below as part of the submission of the application for approval.

- The applicant shall demonstrate that the project meets the standards set forth in this ordinance.

- The applicant shall submit eighteen (18) copies of the materials listed in the checklist for site development stormwater plans in accordance with Section IX.C of this ordinance.

- Site Development Stormwater Plan Approval

The applicant's Site Development project shall be reviewed as a part of the review process by the municipal board or official from which municipal approval is sought.  That municipal board or official shall consult the municipality’s review engineer to determine if all of the checklist requirements have been satisfied and to determine if the project meets the standards set forth in this ordinance.

- Submission of Site Development Stormwater Plan

The following information shall be required:

- Topographic Base Map

The reviewing engineer may require upstream tributary drainage system information as necessary.  It is recommended that the topographic base map of the site be submitted which extends a minimum of 200 feet beyond the limits of the proposed development, at a scale of 1"=200' or greater, showing 2-foot contour intervals.  The map as appropriate may indicate the following:  existing surface water drainage, shorelines, steep slopes, soils, erodible soils, perennial or intermittent streams that drain into or upstream of the Category One waters, wetlands and flood plains along with their appropriate buffer strips, marshlands and other wetlands, pervious or vegetative surfaces, existing man-made structures, roads, bearing and distances of property lines, and significant natural and manmade features not otherwise shown.

- Environmental Site Analysis

A written and graphic description of the natural and man-made features of the site and its surroundings should be submitted.  This description should include a discussion of soil conditions, slopes, wetlands, waterways and vegetation on the site.  Particular attention should be given to unique, unusual, or environmentally sensitive features and to those that provide particular opportunities or constraints for development.

- Project Description and Site Plans

A map (or maps) at the scale of the topographical base map indicating the location of existing and proposed buildings roads, parking areas, utilities, structural facilities for stormwater management and sediment control, and other permanent structures.  The map(s) shall also clearly show areas where alterations will occur in the natural terrain and cover, including lawns and other landscaping, and seasonal high groundwater elevations.  A written description of the site plan and justification for proposed changes in natural conditions shall also be provided.

- Land Use Planning and Source Control Plan

This plan shall provide a demonstration of how the goals and standards of Sections III through V are being met.  The focus of this plan shall be to describe how the site is being developed to meet the objective of controlling groundwater recharge, stormwater quality and stormwater quantity problems at the source by land management and source controls whenever possible.

- Stormwater Management Facilities Map

The following information, illustrated on a map of the same scale as the topographic base map, shall be included:

- Total area to be disturbed, paved or built upon, proposed surface contours, land area to be occupied by the stormwater management facilities and the type of vegetation thereon, and details of the proposed plan to control and dispose of stormwater.

- Details of all stormwater management facility designs, during and after construction, including discharge provisions, discharge capacity for each outlet at different levels of detention and emergency spillway provisions with maximum discharge capacity of each spillway.

- Calculations

- Comprehensive hydrologic and hydraulic design calculations for the pre-development and post-development conditions for the design storms specified in Section IV of this ordinance.

- When the proposed stormwater management control measures depend on the hydrologic properties of soils or require certain separation from the seasonal high water table, then a soils report shall be submitted.  The soils report shall be based on onsite boring logs or soil pit profiles.  The number and location of required soil borings or soil pits shall be determined based on what is needed to determine the suitability and distribution of soils present at the location of the control measure.

- Maintenance and Repair Plan

The design and planning of the stormwater management facility shall meet the maintenance requirements of Section X.

- Waiver from Submission Requirements

The municipal official or board reviewing an application under this ordinance may, in consultation with the municipality’s review engineer, waive submission of any of the requirements in Section IX.C.1 through IX.C.6 of this ordinance when it can be demonstrated that the information requested is impossible to obtain or it would create a hardship on the applicant to obtain and its absence will not materially affect the review process.

Section X.  Maintenance and Repair:

- Applicability

Projects subject to review as in Section I.C of this ordinance shall comply with the

requirements of Section X.B and X.C.

- General Maintenance

- The design engineer shall prepare a maintenance plan for the stormwater management measures incorporated into the design of a major development.

- The maintenance plan shall contain specific preventative maintenance tasks and schedules; cost estimates, including estimated cost of sediment, debris, or trash removal; and the name, address, and telephone number of the person or persons responsible for preventative and corrective maintenance (including replacement).  The plan shall contain information on BMP location, design, ownership, maintenance tasks and frequencies, and other details as specified in Chapter 8 of the NJ BMP Manual, as well as the tasks specific to the type of BMP, as described in the applicable chapter containing design specifics.

- If the maintenance plan identifies a person other than the property owner (for example, a developer, a public agency or homeowners' association) as having the responsibility for maintenance, the plan shall include documentation of such person's or entity’s agreement to assume this responsibility, or of the owner's obligation to dedicate a stormwater management facility to such person under an applicable ordinance or regulation.

- Responsibility for maintenance shall not be assigned or transferred to the owner or tenant of an individual property in a residential development or project, unless such owner or tenant owns or leases the entire residential development or project.  The individual property owner may be assigned incidental tasks, such as weeding of a green infrastructure BMP, provided the individual agrees to assume these tasks; however, the individual cannot be legally responsible for all of the maintenance required.

- If the party responsible for maintenance identified under Section X.B.3 above is not a public agency, the maintenance plan and any future revisions based on Section X.B.7 below shall be recorded upon the deed of record for each property on which the maintenance described in the maintenance plan must be undertaken.

- Preventative and corrective maintenance shall be performed to maintain the functional parameters (storage volume, infiltration rates, inflow/outflow capacity, etc.). of the stormwater management measure, including, but not limited to, repairs or replacement to the structure; removal of sediment, debris, or trash; restoration of eroded areas; snow and ice removal; fence repair or replacement; restoration of vegetation; and repair or replacement of non-vegetated linings.

- The party responsible for maintenance identified under Section X.B.3 above shall perform all of the following requirements:

- maintain a detailed log of all preventative and corrective maintenance for the structural stormwater management measures incorporated into the design of the development, including a record of all inspections and copies of all maintenance-related work orders;

- evaluate the effectiveness of the maintenance plan at least once per year and adjust the plan and the deed as needed; and

- retain and make available, upon request by any public entity with administrative, health, environmental, or safety authority over the site, the maintenance plan and the documentation required by Section X.B.6 and B.7 above.

- The requirements of Section X.B.3 and B.4 do not apply to stormwater management facilities that are dedicated to and accepted by the municipality or another governmental agency, subject to all applicable municipal stormwater general permit conditions, as issued by the Department.

Note:  It may be appropriate to delete requirements in the maintenance and repair plan that are not applicable if the ordinance requires the facility to be dedicated to the municipality.  If the municipality does not want to take this responsibility, the ordinance should require the posting of a two-year maintenance guarantee in accordance with N.J.S.A. 40:55D-53.  Maintenance and inspection guidance can be found on the Department’s website at:

https://dep.nj.gov/stormwater/maintenance-guidance/.

- In the event that the stormwater management facility becomes a danger to public safety or public health, or if it is in need of maintenance or repair, the municipality shall so notify the responsible person in writing.  Upon receipt of that notice, the responsible person shall have fourteen (14) days to effect maintenance and repair of the facility in a manner that is approved by the municipal engineer or his designee.  The municipality, in its discretion, may extend the time allowed for effecting maintenance and repair for good cause.  If the responsible person fails or refuses to perform such maintenance and repair, the municipality or County may immediately proceed to do so and shall bill the cost thereof to the responsible person.  Nonpayment of such bill may result in a lien on the property.

- Nothing in this subsection shall preclude the municipality in which the major development is located from requiring the posting of a performance or maintenance guarantee in accordance with N.J.S.A. 40:55D-53

Section XI.  Penalties:

Any person(s) who erects, constructs, alters, repairs, converts, maintains, or uses any building, structure or land in violation of this ordinance shall be subject to the following penalties in accordance with Chapter 1, Article II of the Code of the Borough of Edgewater.

Section XII.  Severability:

Each section, subsection, sentence, clause and phrase of this Ordinance is declared to be an independent section, subsection, sentence, clause and phrase, and the finding or holding of any such portion of this Ordinance to be unconstitutional, void, or ineffective for any cause, or reason, shall not affect any other portion of this Ordinance.

Section XIII.  Effective Date:

This Ordinance shall be in full force and effect from and after its adoption and any publication as required by law.

Section XIV.  Repeal of Inconsistent Ordinances.

All ordinance and parts of ordinance that are inconsistent with the provisions of this Ordinance are hereby repealed to the extent of such inconsistency.

Administrator Franz explained the purpose of Ordinance 2023-012.

Mayor McPartland opened the meeting to the public to comment on Ordinance

2023-012.

No one wished to be heard; therefore, the Mayor closed the meeting to the public to comment on Ordinance 2023-012.

MOTION

October 16, 2023

Introduced:  Councilman Martin

Second:  Councilman Vidal

A motion to adopt AN ORDINANCE REPEALING IN ITS ENTIRETY ORDINANCE NO. 2021-001 OF THE CODE OF THE BOROUGH OF EDGEWATER AND REPLACING CHAPTER 374 OF THE CODE OF THE BOROUGH OF EDGEWATER ENTITLED “STORMWATER MANAGEMENT”

On roll call the vote was as follows:

Councilman Gutierrez	Yes

Councilwoman Lawlor	Yes

Councilman Monte		Yes

Councilman Vidal		Yes

Councilman Martin		Yes

Councilman Bartolomeo	Yes

Ordinance 2023-012 has been adopted.

ORDINANCE NO. 2023-013

AN ORDINANCE AMENDING CHAPTER 81 OF THE CODE OF THE BOROUGH OF EDGEWATER ENTITLED “POLICE DEPARTMENT”

Notice is hereby given that the following proposed Ordinance was introduced at a meeting of the Mayor and Council of the Borough of Edgewater, State of New Jersey held on the 18th day of September, 2023 and given its first reading, and the same was then ordered to be published according to law, and that said Ordinance will be further considered for final reading and adoption at a meeting of the said Mayor and Council to be held in the Nancy Merse Council Chambers, 55 River Road, Borough of Edgewater, New Jersey  on the  16th day of October, 2023 at 7:00 pm or as soon thereafter that the matter can be reached, at which time and place all persons interested will have an opportunity to be heard concerning said Ordinance.

The said Ordinance is:

AN ORDINANCE AMENDING CHAPTER 81 OF THE CODE OF THE BOROUGH OF EDGEWATER ENTITLED “POLICE DEPARTMENT”

WHEREAS, there exists a desire and need to add the position of Deputy Chief of Police and to increase the number of Lieutenants in the Edgewater Police Department; and

NOW THEREFORE BE IT ORDAINED by the Mayor and Council of the Borough of Edgewater, Bergen County, as follows:

Section I.

Article I Organization, Section 81-1 Composition of Department, paragraph A shall be amended to read as follows:

“The Police Department of the Borough of Edgewater shall consist of: one Chief of Police; one Deputy Chief of Police; one Captain; four Lieutenants; six Sergeants; and thirty-five patrol officers, and such other civilian employees as needed to preserve the public peace and enforce all of the laws of the United States, the State of New Jersey and the Borough of Edgewater.  As set forth in Paragraph B of this Section, the Mayor and Council of the Borough of Edgewater may, from time to time, leave one or more of the above positions vacant as they see fit.  Whenever such office is left vacant, it will be deemed as not to exist and will be bypassed through the chain of command.”

AND BE IT FURTHER ORDAINED that Section 81-4 shall be further amended to read as follows:

Powers and Duties of Deputy Chief of Police and Captain.

The Deputy Chief of Police shall be second in command in the Department and the Captain shall be third in command. The Deputy Chief of Police shall, in the absence of the Chief of Police, temporarily or otherwise, perform all the duties of the Chief of Police, subject to the limitations of N.J.S.A. 40A:14-118. When the Chief of Police is on duty, the Deputy Chief of Police and/or Captain shall perform such duties as may be imposed upon him by the Chief of Police, or in the case of the Captain, the Deputy Chief of Police.  In addition, the Deputy Chief of Police and Captain shall perform all duties as set forth in the job description as identified in the New Jersey Department of Personnel Job Specifications.

Section II.  Severability:

Each section, subsection, sentence, clause and phrase of this Ordinance is declared to be an independent section, subsection, sentence, clause and phrase, and the finding or holding of any such portion of this Ordinance to be unconstitutional, void, or ineffective for any cause, or reason, shall not affect any other portion of this Ordinance.

Section III.  Effective Date:

This Ordinance shall be in full force and effect from and after its adoption and any publication as required by law.

Section IV.  Repeal of Inconsistent Ordinances.

All ordinances and parts of ordinances that are inconsistent with the provisions of this ordinance are hereby repealed to the extent of such inconsistency.

Administrator Franz and Mayor McPartland explained the purpose of Ordinance 2023-013.

Mayor McPartland opened the meeting to the public to comment on Ordinance

2023-013.

- Jim D’Anna, 16 Adelaide Place

Questioned if the Ordinance took away from patrolmen out on the street. Asked if we are still short on Police Officers.

Mayor McPartland responded and answered those questions.

No one else wished to be heard; therefore, the Mayor closed the meeting to the public to comment on Ordinance 2023-013.

MOTION

October 16, 2023

Introduced:  Councilman Martin

Second:  Councilwoman Lawlor

A motion to adopt AN ORDINANCE AMENDING CHAPTER 81 OF THE CODE OF THE BOROUGH OF EDGEWATER ENTITLED “POLICE DEPARTMENT”

On roll call the vote was as follows:

Councilman Gutierrez	Yes

Councilwoman Lawlor	Yes

Councilman Monte		Yes

Councilman Vidal		Yes

Councilman Martin		Yes

Councilman Bartolomeo	Yes

Ordinance 2023-013 has been adopted.

RESOLUTIONS: Consent Agenda

A motion to approve Resolutions 2023-244 to 2023-255 was made by Councilman Bartolomeo and second by Councilman Gutierrez. All council members present voted aye.  None opposed.  None abstained.

On roll call the vote was as follows:

Councilman Gutierrez		Yes

Councilwoman Lawlor		Yes

Councilman Monte			Yes

Councilman Vidal			Yes

Councilman Martin			Yes

Councilman Bartolomeo		Yes

RESOLUTION

2023-244

Resolution 2023-244, Salary & Wages, is attached to the end of these minutes.

RESOLUTION

2023-245

Resolution 2023-245, Salary & Wages, is attached to the end of these minutes.

RESOLUTION

2023-246

Resolution 2023-246, Services & Supplies, is attached to the end of these minutes

RESOLUTION

2023-247

Raffle License

BE IT RESOLVED by the Mayor and Council of the Borough of Edgewater that the following organization be granted permission to conduct a Raffle in accordance with the application on file in the office of the Borough Clerk.

RA:  0001   Church of the Holy Rosary

RESOLUTION

2023-248

Bergen County Community Development Block Grant for Edgewater Housing Authority

WHEREAS, a Bergen County Community Development Block Grant of $100,000.00 has been proposed by the Edgewater Housing Authority for Window Replacement Phase II at the BJC Senior Residence 300 Undercliff Ave, in the municipality of Edgewater, and

WHEREAS, pursuant to the State Interlocal Services Act, Community Development funds may not be spent in a municipality without authorization by the Governing Body, and

WHEREAS, the aforesaid project is in the best interest of the people of Edgewater (Seniors and Disabled), and

WHEREAS, this resolution does not obligate the financial resources of the municipality and is intended solely to expedite expenditure of the aforesaid CD funds.

NOW, THEREFORE, BE IT RESOLVED that the Governing Body of Edgewater hereby confirms endorsement of the aforesaid project, and

BE IT FURTHER RESOLVED that a copy of this resolution shall be sent to the Director of Bergen County Community Development Program so that implementation of the aforesaid project may be expedited.

RESOLUTION

2023-249

Solicit for Request for Qualifications

WHEREAS, the Mayor and Council hereby authorize the Qualified Purchasing Agent and Borough Clerk to advertise and solicit for the yearly Request for Qualifications for Borough Professionals for the Calendar Year 2024 for those professionals whose contracts may exceed $17,500 annually; and

NOW THEREFORE BE IT RESOLVED, by the Mayor and Council that the following officials serve on the evaluation committee and who will make a recommendation to the full Mayor and Council upon the review and evaluation of the qualifications received;

Mayor Michael McPartland

Councilman Vincent Monte

Deborah Reilly, Qualified Purchasing Agent

Gregory Franz, Borough Administrator

RESOLUTION

2023-250

# Authorize Limo License

# WHEREAS, the Borough of Edgewater requires that all taxicabs and livery/limousines be licensed; and

WHEREAS, Ian Leffler, Black Car Driver, located at 1203 River Road, Edgewater, NJ has applied for the issuance of their livery/limousine license for the year 2023; and

WHEREAS, Ian Leffler, Black Car Driver, has submitted all the required documents; and

NOW, THEREFORE, BE IT RESOLVED that the Mayor and Council hereby approve the issuance of one livery/limousine license for the year 2023 to Ian Leffler, Black Car Driver for the following vehicle:

## LIVERY/LIMOUSINE

Chevrolet Suburban		2023		1GNSKCKD1PR467977		X39SNA

RESOLUTION

2023-251

Appoint Part Time Crossing Guard

WHEREAS there is a need for a Part-time School Crossing Guard; and

WHEREAS the following applicant has made application for the position of Part-time School Crossing Guard and has been recommended for appointment as, Part-time School Crossing Guards:

Taibe Brucai

NOW, THEREFORE BE IT RESOLVED by the Mayor and Council that the applicant listed above is hereby appointed as, Part-time School Crossing Guard and

BE IT FURTHER RESOLVED that said appointment does not provide any benefits and the hours worked shall not exceed 19 hours per week; and

BE IT FURTHER RESOLVED that the applicant shall be paid an hourly rate as established by the current salary ordinance.

RESOLUTION

2023-252

Resolution to Enter into Bergen County Community Development Block Grant Agreement for Undercliff Avenue from Palisades Terrace to Sterling Street – SE-EDGWTR-16-23

BE IT RESOLVED, that the Mayor and Council of the Borough of Edgewater wishes to enter into a Grant Agreement with the County of Bergen for the purpose of using $80,000 in 2023-2024 Community Development Block Grant for Maple Street Road Improvements Contract # SE-EDGWTR-16-23; and

BE IT FURTHER RESOLVED, that the Mayor and Council hereby authorizes Mayor Michael J McPartland to be signatory to aforesaid Grant Agreement; and

BE IT FURTHER RESOLVED, that the Mayor and Council hereby authorizes Joseph Iannaconi Jr., Chief Financial Officer, to sign all county vouchers submitted in connection with the aforesaid project; and

BE IT FURTHER RESOLVED, that the Mayor and Council recognizes that the Borough of Edgewater is liable for any funds not spent in accordance with the Grant Agreement; and that the liability of the Mayor and Council is in accordance with HUD requirements.

RESOLUTION

2023-253

Appoint Temporary Tax Assessor’s Clerk

WHEREAS, as a result of a temporary medical leave within the Tax Assessor’s Office, there is a need to appoint a trained, qualified, and experienced individual to perform clerical duties within the Tax Assessor’s Office; and

WHEREAS, the Borough Administrator has from time to time, authorized the hiring of trained, qualified, and experienced staff as needed; and

WHEREAS, it is the recommendation of the Borough Administrator that Patricia Esteves who is trained, qualified, and experienced be authorized to work as needed within the Tax Assessor’s Office.

NOW THEREFORE BE IT RESOLVED, by the Governing Body of the Borough of Edgewater that Patricia Esteves is hereby appointed as temporary part time clerk within the Tax Assessor’s Office for a period not to exceed six (6) months from the effective date of this resolution.

BE IT FURTHER RESOLVED, that said appointment will be compensated at a rate not to exceed $500 per month as needed with no benefits.

RESOLUTION

2023-254

Coin Toss VFD

WHEREAS, the Edgewater Volunteer Fire Company 1 operates as a volunteer non-profit entity to provide fire protection to the Borough of Edgewater, and

WHEREAS, the Edgewater Volunteer Fire Company 1 holds various fundraisers throughout the year in particular a coin toss on Thanksgiving weekend November 24 – 25 at the entrance to the Edgewater Commons, and

WHEREAS, this solicitation conforms with Chapter 305 of the Borough Code, Peddling, Soliciting, and Advertising, as well as County of Bergen Ordinance 14-31, as well as New Jersey Statutes and Codes; N.J.S.A. 39:4-60, N.J.S.A. 45:17A-20, N.J.A.C. 16:40-6.1, and N.J.A.C. 16:40-5.1

NOW THEREFORE BE IT RESOLVED, by the Borough of Edgewater Mayor and Council that it hereby authorizes and approves the solicitation of the Edgewater Volunteer Fire Company 1 conducting a coin toss at the Entrance to the Edgewater Commons on the weekend of November 24 – 25

BE IT FURTHER RESOLVED, that said solicitation conforms with all safety and traffic regulations as outlined in the above-named statutes and codes.

RESOLUTION

2023-255

Comp Time- Vanegas

WHEREAS, the Borough of Edgewater has received a request from Detective Vanegas to be paid for Eighty (80) hours of compensation time that he has accumulated in his comp time bank; and

WHEREAS, the hourly rate for Detective Vanegas to be paid shall be $76.93 per hour for a total amount of $6154.40 and

WHEREAS, I, Joseph Iannaconi Chief Financial Officer, hereby certify that funds shall be made available for this purpose; under line item for Salaries & Wages:

____________________________________

Joseph Iannaconi Jr. CFO

NOW, THEREFORE BE IT RESOLVED by the Mayor and Council that Detective Vanegas’s request to be paid for Eighty (80) hours of his banked compensatory time is hereby granted as per the Police Chief’s memo.

MATTERS FOR OPEN DISCUSSION:

1. 2023 Best Practices Inventory Discussion

Administrator Franz explained the Best Practices Inventory State Aid. Each year the state of New Jersey budgets state aid for each municipality. The Borough of Edgewater has been awarded 100% of the state aid just like previous years. Administrator Franz recognized all the workers and Mayor & Council for their hard work. Mayor McPartland stated he received the engineering report from the state and read all of the grants Edgewater was awarded. Edgewater was awarded all of the grants applied for. He thanked Congressman Pascrell for all of his hard work with getting the grants. He is hopeful we will not have any more flooding issues. Pump Station #4 is finished. State Route 5 paving is hopefully going to be the next project. The Mayor stated he wants to make the “Kiddie Park” into a Pickle ball court.

2. NJ DEP Nest Monitor Report- Bald Eagles

Mayor McPartland presented a slideshow of the eagles that have called Edgewater home. He wanted the children of Edgewater to name the two eagles. He also presented a letter from a citizen that has been concerned about the conservation of the eagles. The Mayor spoke more on the pictures of the eagles. He wants to change the name of the town from the Edgewater River Rats to the Edgewater Eagles.

3.Events in Town

The Mayor stated Halloween was approaching and spoke on the event we have at the ballfield and reminded residents of our shredding event on Sunday. The Mayor urged all the residents to vote on election day.

Mayor McPartland read a proclamation of a resident who celebrated her 100th birthday in Edgewater. (The audio machine was already turned off)

Mayoral Proclamation

Borough of Edgewater

Bergen County, New Jersey

WHEREAS, the Borough of Edgewater would like to recognize and congratulate its longest continuous resident, Elizabeth “Betty” Regan who has reached the distinction of being the official Edgewater centenarian, and

WHEREAS, Elizabeth “Betty” Regan was born, raised, worked, and lived in her hometown of Edgewater New Jersey since October 19, 1923, and

WHEREAS, Betty was born to her mother Ann and father Patrick Oates in her childhood home built by her father and uncles at 16 Myrtle Avenue, and

WHEREAS, Betty’s father would eventually become the Fire Chief of the Edgewater Fire Department and in that time moved and was raised on Valley Place and eventually settling in the family home at 395 Undercliff Avenue, one of the few original homes in Edgewater still standing today, and

WHEREAS, Betty would attend and graduate from the Edgewater Elementary School, known now as the Eleanor Van Gelder School, and graduating from the Academy of Holy Angels High School in Fort Lee in 1941, and

WHEREAS, after high school graduation Betty worked for the Aluminum Company of America, known as ALCOA, until she met a handsome young gentleman by the name of Raymond Regan whom she married in 1948 and moved into a house built by her father at 104 Myrtle Avenue, a house Betty still calls home, and

WHEREAS, Betty and Raymond’s marriage produced four loving children, Robert, Mary, Raymond, and John as well as five grandchildren and one great grand-child.

NOW THEREFORE BE IT RESOLVED, that I, Michael J. McPartland, Mayor of the Borough of Edgewater, do hereby proclaim October 19, 2023 as Elizabeth “Betty” Regan day in the Borough of Edgewater in celebration of her birthday and achieving centenarian status.

______________________________

Michael J. McPartland – Mayor

Signed this 12th Day of October, 2023

MOTION

October 16, 2023

Motion to adjourn.

INTRODUCED: Councilman Monte

SECOND: Councilwoman Lawlor

On roll call the vote was as follows:

Councilman Gutierrez		Yes

Councilwoman Lawlor		Yes

Councilman Monte			Yes

Councilman Vidal			Yes

Councilman Martin		Yes

Councilman Bartolomeo		Yes

Nicolette D’Anna, RMC

Deputy Borough Clerk

Approved: January 4, 2024